## Sheet1
Reference | Manufacturer | Model | Description | Serial Number | Equipment Group / Bench Code | IFX Company | Division | Cost Center | Lab | Building / Entrance | IFX Responsible Name | IFX Responsible Phone | IFX Responsible E-Mail | IFX Responsible_Substitute Name | IFX Responsible_Substitute Phone | IFX Responsible_Substitute E-Mail | Cal Due Date | Cal Interval (months) | Calibration Type: accredited => yes/no | Calibration Location accredited | Max. TAT (workingdays) accredited | Accredited Cal Price | Calibration Type: traceable => yes/no | Calibration Location traceable | Max. TAT (workingdays) traceable | Traceable Cal Price | External usage Calibration Service Supplier? Yes, please name your partner | Adjustable by the Supplier? | Adjustment Price | Comments from Supplier (ranges, limited cal etc.)
HE_001 | Tektronix | DMM6500 | 6-1/2 Digit bench/system digital multimeter with scanning | 4397208 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_002 | Tektronix | DMM6500 | 6-1/2 Digit bench/system digital multimeter with scanning | 4397179 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_003 | Tektronix | DMM6500 | 6-1/2 Digit bench/system digital multimeter with scanning | 4395858 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_004 | Tektronix | DMM6500 | 6-1/2 Digit bench/system digital multimeter with scanning | 4396977 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_005 | Tektronix | DMM6500 | 6-1/2 Digit bench/system digital multimeter with scanning | 4397191 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_006 | Tektronix | DMM6500 | 6-1/2 Digit bench/system digital multimeter with scanning | 4397188 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_007 | Tektronix | DMM6500 | 6-1/2 Digit bench/system digital multimeter with scanning | 4399859 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_008 | Tektronix | DMM6500 | 6-1/2 Digit bench/system digital multimeter with scanning | 4410443 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_009 | Tektronix | DMM6500 | 6-1/2 Digit bench/system digital multimeter with scanning | 4410151 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_010 | Tektronix | DMM6500 | 6-1/2 Digit bench/system digital multimeter with scanning | 4410157 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_011 | Tektronix | DMM6500 | 6-1/2 Digit bench/system digital multimeter with scanning | 4410442 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_012 | Tektronix | DMM6500 | 6-1/2 Digit bench/system digital multimeter with scanning | 4410440 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_013 | Tektronix | DMM6500 | 6-1/2 Digit bench/system digital multimeter with scanning | 4428679 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_014 | Tektronix | DMM6500 | 6-1/2 Digit bench/system digital multimeter with scanning | 4428978 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_015 | Tektronix | DMM6500 | 6-1/2 Digit bench/system digital multimeter with scanning | 4428501 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_016 | Tektronix | DMM6500 | 6-1/2 Digit bench/system digital multimeter with scanning | 4429012 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_017 | Tektronix | TCPA300 | Current probe: 100 MHz, Amplifier | C039692 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_018 | Tektronix | TCPA300 | Current probe: 100 MHz, Amplifier | C062570 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_019 | Tektronix | TCPA300 | Current probe: 100 MHz, Amplifier | C033599 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_020 | Tektronix | TCPA300 | Current probe: 100 MHz, Amplifier | C062574 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_021 | Tektronix | TCP312A | Probe, AC/DC Current; 30 Amp DC, DC-100MHZ | C006726 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_022 | Tektronix | TCP312A | Probe, AC/DC Current; 30 Amp DC, DC-100MHZ | C006727 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_023 | Tektronix | TCP312A | Probe, AC/DC Current; 30 Amp DC, DC-100MHZ | C024285 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_024 | Tektronix | TCP312A | Probe, AC/DC Current; 30 Amp DC, DC-100MHZ | C003414 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_025 | Tektronix | MSO44 | 4 Series Mixed Signal Oscilloscope, 1GHz Bandwidth | C019401 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_026 | Tektronix | MSO44 | 4 Series Mixed Signal Oscilloscope, 1GHz Bandwidth | C019350 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_027 | Tektronix | MSO44 | 4 Series Mixed Signal Oscilloscope, 200 MHz Bandwidth | C019363 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_028 | Tektronix | MSO44 | 4 Series Mixed Signal Oscilloscope, 200 MHz Bandwidth | C019391 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_029 | Tektronix | MDO4024C | Mixed Domain Oscilloscope | C011129 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_030 | Tektronix |  | Mixed Domain Oscilloscope (go measure) | C001927 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_031 | Tektronix | 2281S-20-6 | Precision DC supply and battery simulator, 20V 6A. 120W | 4393640 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_032 | Tektronix | MDO4104C | Mixed Domain Oscilloscope; (4) 1 GHz analog channels, 20M record length | C013837 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_033 | Tektronix | 2260B-250-9 | Programmable DC Power Supply, 250V. 9A, 720W | 1405218 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_034 | Tektronix | 2260B-250-9 | Programmable DC Power Supply, 250V. 9A, 720W | 1405219 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_035 | Tektronix | 2260B-30-36 | Multirange DC Power Supply | 1401592 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_036 | Tektronix | MDO4024C | Mixed Domain Oscilloscope | C013969 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_037 | Tektronix | MDO4024C | Mixed Domain Oscilloscope | C014428 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_038 | Tektronix | MDO4024C | Mixed Domain Oscilloscope | C014427 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_039 | Tektronix | MDO4024C | Mixed Domain Oscilloscope | C013837 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_040 | Tektronix | 2231A-30-3 | Manual Triple Channel DC Power Supply | 802196102737710116 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_041 | Tektronix | 2231A-30-3 | Manual Triple Channel DC Power Supply | 802196102746710080 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_042 | Tektronix | 2231A-30-3 | Manual Triple Channel DC Power Supply | 802196102737710082 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_043 | Tektronix | 2231A-30-3 | Manual Triple Channel DC Power Supply | 802196102737710118 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_044 | Tektronix | 2231A-30-3 | Manual Triple Channel DC Power Supply | 802196010736930399 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_045 | Tektronix | 2231A-30-3 | Manual Triple Channel DC Power Supply | 802196102746710002 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_046 | Tektronix | 2461 | Sourcemeter Power Supply | 4375830 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_047 | Tektronix | 2831E | BK Precision 4½ Digital Multimeter | 123F17206 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_048 | Tektronix | 2831E | BK Precision 4½ Digital Multimeter | 28315140011031211 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_049 | Tektronix | 2831E | BK Precision 4½ Digital Multimeter | 28315140011031208 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_050 | Tektronix | 2831E | BK Precision 4½ Digital Multimeter | 123F17205 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_051 | Tektronix | 2831E | BK Precision 4½ Digital Multimeter | 28315140011031203 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_052 | Tektronix | 2831E | BK Precision 4½ Digital Multimeter | 28315140011051228 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_053 | Tektronix | 2831E | BK Precision 4½ Digital Multimeter | 123E17204 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_054 | Tektronix | 2831E | BK Precision 4½ Digital Multimeter | 123M17106 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_055 | Tektronix | 2831E | BK Precision 4½ Digital Multimeter | 28315140010120851 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_056 | Tektronix | 2831E | BK Precision 4½ Digital Multimeter | 123E17203 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_057 | Tektronix | 2831E | BK Precision 4½ Digital Multimeter | 123L16206 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_058 | Tektronix | 2831E | BK Precision 4½ Digital Multimeter | 28315140011031205 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_059 | Tektronix | 2831E | BK Precision 4½ Digital Multimeter | 123F17203 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_060 | Tektronix | 2831E | BK Precision 4½ Digital Multimeter | 123E17205 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_061 | Tektronix | 2831E | BK Precision 4½ Digital Multimeter | 123H17107 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_062 | Tektronix | 9129B | BK Precision Triple Output Programmable DC Power Supply | 470G17120 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_063 | Tektronix | 9129B | BK Precision Triple Output Programmable DC Power Supply | 470G17151 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_064 | Tektronix | 9129B | BK Precision Triple Output Programmable DC Power Supply | 470G17143 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_065 | Tektronix | 9130 | BK Precision Triple Output Programmable DC Power Supply | 189C14117 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_066 | Tektronix | 9130 | BK Precision Triple Output Programmable DC Power Supply | 189C14102 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_067 | Tektronix | 9130 | BK Precision Triple Output Programmable DC Power Supply | 189B23105 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_068 | Tektronix | 9130 | BK Precision Triple Output Programmable DC Power Supply | 189J09117 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_069 | Tektronix | 9130 | BK Precision Triple Output Programmable DC Power Supply | 189J09104 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_070 | Tektronix | 9130 | BK Precision Triple Output Programmable DC Power Supply | 189K12105 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_071 | Tektronix | 9130 | BK Precision Triple Output Programmable DC Power Supply | 189B23110 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_072 | Tektronix | 9130B | BK Precision Triple Output Programmable DC Power Supply | 465L16123 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_073 | Tektronix | 9130B | BK Precision Triple Output Programmable DC Power Supply | 465I16128 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_074 | Tektronix | Keithley |  | 1043584 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_075 | Tektronix | MDO4104-6 | Mixed Domain Oscilloscope | C010327 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_076 | Tektronix | MSO4104B-L | Mixed Signal Oscilloscope | C024446 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_077 | Tektronix | 5491B | 5000 Count Multimeter | 124E13152 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_078 | Tektronix | 5491B | 5000 Count Multimeter | 124E13160 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_079 | Auido Precision | APX515 | Audio Analyzer | APX8-91055 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_080 | Audio Precision | AUX-0025 | Switching Amplifier Measurement Filter | SMF-13497 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_081 | Audio Precision | AUX-0040 | AUX-0040 High-Frequency Measurement Filter | 11051 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_082 | Audio Precision | APX525B | B Series Apx 2-channel audio analyzer | 100256525 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_083 | Audio Precision | APX525B | B Series Apx 2-channel audio analyzer | 100255525 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_084 | Audio Precision | AUX-0025 | Switching Amplifier Measurement Filter | SMF-13243 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_085 | Audio Precision | AUX-0025 | Switching Amplifier Measurement Filter | SMF-12740 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_086 | Audio Precision | AUX-0025 | Switching Amplifier Measurement Filter | SMF-12867 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_087 | Audio Precision | APX515 | Audio Analyzer | APX8-80991 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_088 | Audio Precision | APX525 | Audio Analyzer | APX2-28304 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_089 | Audio Precision | APX525 | Audio Analyzer | APX2-28897 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_090 | Audio Precision | APX555 | Audio Analyzer | APX55-11428 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_091 | Audio Precision | AUX-0025 | Switching Amplifier Measurement Filter | SMF-14350 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_092 | Audio Precision | AUX-0025 | Switching Amplifier Measurement Filter | SMF-14347 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_093 | Mechanical Devices | FLEXTC | Mechanical Devices Temperature Force System | 14000098-1 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_094 | TIRA | TTC 4002 | TIRA hot and cold temperature chamber | 10250 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_095 | Agilent Technologies | E3634A | DC Power Supply | MY49410085 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_096 | Agilent Technologies | DSOX3024A | 4 Channel 200MHz Oscilliscope | MY52161913 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_097 | Tenma | 72-8725 | Digital Storage Oscilloscope 100MHz 2GS/s | 6944853641048 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_098 | Lecroy | Waveace 2034 | 300MHz Oscilloscope | LCRY2250C00136 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_099 | GW Instek | GFG-3015 | Function Generator | E121350 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_100 | Fluke |  | Differential Probe | 159366 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_101 | Fluke |  | Differential Probe | 159375 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_102 | Rohde & Schwarz | HMC8012 | 5.3/4 Digital Multimeter | 100034331302 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_103 | Rohde & Schwarz | HMC8012 | 5.3/4 Digital Multimeter | 10003431303 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_104 | Yokogawa | WT5000 | Yokogawa Powermeter w sA input element, Option M1, 32GB intern | C2VL01005V |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_105 | Elma Instruments |  | 25 degree lens for FLIR A655sc | 56595475 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_106 | Elma Instruments |  | 50um Macrolens for FLIR A655sc | 58300138 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_107 | Elma Instruments |  | FLIR A655sc - camera | 55005205 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_108 | Tektronix | MSO3054 | Mixed Signal Oscilloscope | C022093 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12
HE_109 | Metrix | GX305 | Function Generator | 121767 |  | IFDK | PMM | 1415-6D200 | Merus-Lab | Hørkær 16 2. floor | Jarle Oestvedt | +4541822765 | jarle.oestvedt@infineon.com |  |  |  | overdue | 12